Revison-1
Synthesis, structure refinement and single-crystal elasticity of Al-bearing superhydrous phase B
Xinyang Li1,2, Sergio Speziale 2, Konstantin Glazyrin 1, Franziska D. H. Wilke 2, Hanns-Peter Liermann 1, Monika Koch-Müller 2
1 Deutsches Elektronen-Synchrotron (DESY), 22607 Hamburg, Germany
2 GFZ German Research Centre for Geosciences, Telegrafenberg, 14473 Potsdam, Germany

Abstract
Dense hydrous magnesium silicates (DHMSs) with large water content and wide stability fields are a potential H2O reservoir in the deep Earth. Al-bearing superhydrous phase B (shy-B) with a wider stability field than the Al-free counterpart can play an important role in understanding H2O transport in the Earth’s transition zone and topmost lower mantle. In this study, a nominally Al-free and two different Al-bearing shy-B with 0.47(2) and 1.35(4) Al atoms per formula unit (pfu), were synthesized using a rotating multi-anvil press. The single-crystal structures were investigated by X-ray diffraction (XRD) complemented by Raman spectroscopy, and Fourier-transform infrared spectroscopy (FTIR). Single-crystal XRD shows that the cell parameters decrease with increasing Al-content. By combining X-ray diffraction and spectroscopy results, we conclude that the Al-poor shy-B crystallizes in the Pnn2 space group with hydrogen in two different general positions. Based on the results of the single crystal X-ray diffraction refinements combined with FTIR spectroscopy, three substitutions mechanisms are proposed: 2 Al3+ = Mg2+ + Si4+; ☐Mg2+ = 2H+; Si4+ = Al3+ + H+. Thus, in addition to the two general H positions, hydrogen is incorporated into the hydrous mineral via point defects. The elastic stiffness coefficients were measured for the Al-shy-B with 1.35 pfu Al by Brillouin scattering (BS). Al-bearing shy-B shows lower C11, higher C22 and similar C33 when compared to Al-free shy-B. The elastic anisotropy of Al-bearing shy-B is also higher than that of the Al-free composition. Such different elastic properties are due to the effect of lattice contraction as a whole and the specific chemical substitution mechanism that affect bonds strength. Al-bearing shy-B with lower velocity, higher anisotropy and wider thermodynamic stability can help to understand the low velocity zone and high anisotropy region in the subducted slab located in Tonga.

Keywords: Al-bearing superhydrous phase B, crystal structure, elasticity, Brillouin scattering, X-ray diffraction

Introduction
Several studies show the presence of hydrous minerals such as hydrous ringwoodite, brucite and ice-VII, as inclusion in diamonds from the deep earth interior (Pearson et al. 2014; Palot et al. 2016; Tschauner et al. 2018). This proves that the Earth’s mantle is, at least locally, hydrated. H2O can be introduced into the deep Earth by subducted slabs via hydrous minerals (Schmidt and Ulmer 2004; Ohtani 2005) or originally stored in the deep Earth from the protosolar nebula material (Hallis et al. 2015; Peslier 2020). H2O could be incorporated in some nominally anhydrous minerals such as olivine, wadsleyite and ringwoodite. However, the H2O-storage capacity of these minerals is limited and lower than ~3 wt.% (e.g. Mao and Li 2016). Dense hydrous magnesium silicates (DHMSs), such as Phase A, Phase E, superhydrous phase B (shy-B), phase D and phase H with large H2O content and wide phase stability are thus potential H2O carriers in cold or warm subducted slabs (Ohtani 2005; Nishi et al. 2014).
Mg-endmember shy-B (Mg10Si3H4O18) with 5.8 wt.% water, has been proposed to form in the hydrated pyrolite system at the Earth’s transition zone and topmost lower mantle at pressure and temperature (P - T) conditions of subducted slabs (Pacalo and Parise 1992; Frost 1999). The Mg-endmember of shy-B coexists with ringwoodite at transition zone in the hydrous peridotite layer in subducted slab (e.g., Schmidt and Ulmer 2004; Ohtani 2005). At the depth of topmost lower mantle, shy-B will coexist with bridgmanite, phase D, CaSiO3-perovskite to 30 GPa and then decompose to MgO and bridgmanite (e,g., Schmidt and Ulmer 2004; Ohtani 2005). Al2O3, as an important component in the peridotite and basalt layer of subducted slab, could be incorporated into the structure of DHMSs and bridgmanite (Pamato et al. 2015; Liu et al. 2016, 2017; Kakizawa et al. 2018). Phase D and shy-B could incorporate 50 wt.% and 31.9 wt.% Al2O3 in their structures ( Boffa Ballaran et al. 2010; Pamato et al. 2015; Kakizawa et al. 2018). The solubility of Al2O3 in bridgmanite is up to 21.8 mol% at 27 GPa and 2500 K (Liu et al. 2017). The partition coefficient of Al between shy-B and bridgmanite is considered to be 1.5-2.8 and increases with pressures and temperatures (Litasov and Ohtani 2003; Kakizawa et al. 2018). However, the partitioning of Al among coexisting shy-B, phase D and bridgmanite is still experimentally unconstrained.
The Mg-Si end-member of shy-B can be synthesized at high P-T in the range of 16-22 GPa and 1000-1550 C (e.g. Pacalo and Parise 1992; Hazen et al. 1997; Koch-Müller et al. 2005). The structure of shy-B was first determined to be orthorhombic (space group Pnnm) by Pacalo and Parise (1992). The crystal structure consists of Si-O tetrahedra and octahedra with 2:1 ratio as well as Mg-O octahedra (Pacalo and Parise 1992). Koch-Müller et al. (2005) proposed that shy-B displays two different polymorphic modifications, a high-temperature form with space group Pnnm and a low-temperature form with space group Pnn2. Kakizawa et al. (2021) confirmed these findings. Different experimental techniques, including FTIR spectroscopy, nuclear magnetic resonance (NMR), single-crystal X-ray diffraction (XRD) and neutron diffraction all reveal the presence of 2 distinct hydrogen positions in the structure of shy-B which makes the structure to be compatible with Pnn2 space group (Koch-Müller et al. 2005; Xue et al. 2008; Trots et al. 2013; Koch-Müller et al. 2014).
The incorporation of F-, Ti4+, Fe2+ and Al3+ in the structure of shy-B affects the physical properties of this phase. The incorporation of F- could increase the incompressibility, density and bulk velocity of shy-B (Li et al. 2020). Matrosova et al. (2019) have shown that Ti-bearing shy-B with a Pnnm space group has a wider stability field than the Mg-Si end-member. Fe-bearing shy-B has much higher bulk modulus than the Fe-free end-member (Shieh et al. 2000; Li et al. 2016). The thermodynamic stability of Al-bearing shy-B expands to higher temperature with increasing Al content, such that shy-B with 31.9 wt% Al2O3 is stable up to 24 GPa and 2000 C (Kakizawa et al. 2018). Based on the Al content and different substitution mechanisms in shy-B, two different types of shy-B were proposed by Kakizawa et al (2018). In a recent study, Kakizawa et al (2021) investigated an Al-bearing shy B sample with 1.9 Al pfu by FTIR spectroscopy, difference Fourier maps and bond-distance considerations. The sample contained more than the ideal hydrogen amount and they propose as additional H incorporation mechanism the complex substitution 2Mg2+ + Si4+ = 2 Al3+ + 2 H+ + ☐ Mg2+(☐ Mg2+ means vacancy in Mg site). This needs further proof.
Knowing the elastic properties of shy-B is also very important for interpreting seismic anomalies in the deep transition zone and the shallow lower mantle, such as the low velocity zone, the 720 km discontinuity and high anisotropy zones (Rosa et al. 2015; Li et al. 2016; Yang et al. 2017). Thus, some experimental and ab initio computational studies investigated the elasticity on the Mg end-member of shy-B with different water contents at high P-T, and the results were used to explain seismic anomalies in the topmost lower mantle (Pacalo and Weidner 1996; Mookherjee and Tsuchiya 2015; Rosa et al. 2015; Li et al. 2016; Yang et al. 2017). However, Al-bearing shy-B showing a much wider P-T stability should be considered as an even more important candidate for H2O transport and storage in the transition zone and topmost part of the lower mantle. One way to assess the hypothesis of Al-bearing shy-B phase being present in deeply subducted slabs is comparing mineralogical models with geophysical observations such as those from seismology. Here we provide information on the elasticity of shy-B as a function of the Al content.
In this study we used rotating multi-anvil apparatus to synthesize a nominally Al-free shy-B with 0.04(1) Al atoms pfu (based on 18 O atoms pfu) and two Al-bearing shy-B with 0.47(2) and 1.35(4) Al atoms pfu. The syntheses products were analyzed with an electron microprobe (EMP), FTIR- and Raman-spectroscopy. The crystal structures of the three compositions were determined by single-crystal X-ray diffraction (XRD). Finally, the elasticity of Al-rich shy-B (with 1.35 Al atoms pfu) was investigated by Brillouin scattering (BS) at ambient conditions.

Experimental and analytical methods
Syntheses: Multi-Anvil apparatus
Shy-B with three different compositions were synthesized in a rotating multi-anvil press at the GFZ, Potsdam (Deon et al. 2011). This device, featuring a Walker type high pressure module (Walker et al. 1990), is designed to allow continuous 360° rotation of the entire press at a maximum speed of 5o per second for the duration of the synthesis. Continuous rotation enhances a homogeneous distribution of fluid and solid within the sample capsule (see Schmidt and Ulmer 2004; Deon et al. 2011). We used a 10/5 assembly (lengths of the octahedral edges and the truncations of the WC cubes, respectively) with a MgO-based octahedron serving as pressure transmitting medium, a stepped graphite heater to avoid or minimize temperature gradients, and pyrophyllite gaskets. We monitored the sample temperature by using type C thermocouples (W5%Re-W26%Re). Details of the experimental setup are given in Mrosko et al. (2015). The starting materials were loaded in Pt capsules (length 2.25 mm, outer diameter 1.4 mm), which were cold sealed. Experimental conditions, run number and the starting materials are summarized in Table 1.

Electron microprobe analysis (EMPA)
Several single crystals of the synthesized shy-B were handpicked, embedded in epoxy, polished and carbon coated in order to perform chemical EMPA. The analyses were performed using a JEOL Superprobe JXA-8230 (GFZ, Potsdam) in wavelength-dispersive X-ray diffraction (WDS) mode with the following crystal-analyzers: TAP for Si and Al, LIFL for Fe and TAPH for Mg. Although the samples do not contain Fe, Fe was required in the calibration and quality control process as the high-pressure ringwoodite standard contained iron. The microprobe was operated at 15 kV, 10 nA. The size of the measuring spot was 5 μm to prevent mineral destruction. Counting times on the peaks for Si, Al and Mg were 10 s and 20 s for Fe. Background counting times were 5 s for Si, Al and Mg and 10 s for Fe. The standard for Mg and Si was well characterized synthetic ringwoodite (MA-313, Mrosko et al. 2013), corundum for Al and hematite for Fe.

FTIR spectroscopy
FTIR spectra were measured using a VERTEX 80v FTIR spectrometer (Bruker optics) with an attached Hyperion II microscope at the IR-spectroscopy laboratory of the GFZ in Potsdam. A tungsten light source, InSb detector and a CaF2 beamsplitter were used to measure the OH stretching range (2500 - 4000 cm-1). Due to the high water content (the stoichiometric Mg-endmember has 5.8 wt.% H2O) a very thin film of the sample material was required which was prepared from very small amounts of the fine grained portion of the syntheses product by pressing the material in a diamond anvil cell (DAC) equipped with type II diamonds and without a gasket (thin-film preparation). The spectra were collected with the thin-films attached to one of the diamonds anvils and with 2 cm-1 resolution and averaged over 256 scans. The reference spectra were taken through the diamonds. The thickness of the first sample (MA-575) flattened in a DAC was determined by reflecting a broadband optical probe in the collected signal scaled by the refractive index of the sample. The refractive index was estimated to be n = 1.686 which is the average value along the three crystallographic axes (Pacalo and Weidner 1996). The thickness of MA-575 is 1.0 (1) m. By optical observation we estimated the thickness of the thin films of MA-399 and MA-576 to be 1.0 and 1.3 µm, respectively. In the absence of a mineral-specific absorption coefficient, ε, we used the wavenumber-dependent method proposed by Libowitzky and Rossman (1997) to calculate molar absorption coefficients ε’s for the bands of each sample. The spectra were deconvoluted with the software PeakFit by Jandel Scientific. We applied a Gaussian plus Lorenzian peak shape to all component bands. The integral absorbance (Aint) of each peak was summed up and multiplied by 3 to get the total integral absorbance Aint,tot. Density was derived from our single crystal X-ray refinements, which are 3.227(3), 3.179(3) and 3.166(4) g/cm3 for MA-399, 575 and 576, respectively. We used the Beer-Lambert law to calculate the water content which can be found in Libowitzky and Rossman (1997).
Temperature-dependent thin-film spectra of samples MA-575 and MA-576 were also measured in the OH stretching region using the spectrometer and components described above in a Linkam FTIR600 cooling/heating stage adjusted to the microscope. Spectra were collected with a spectral resolution of 2 cm-1 and averaged over 1024 scans. Shy- B thin-films were investigated from ambient conditions down to -180 °C. To reach the low temperature the stage was cooled with liquid nitrogen. The low-T spectra of sample MA-575 exhibited an additional peak at around 3180 cm-1 at -180 °C, which we attributed to the formation of ice crystals, visible to our eyes. In experiment MA-576 we avoided the formation of ice by annealing the sample in the Linkam sample chamber for 1 h at 100 °C while purging with nitrogen gas before the cooling experiment started.
To verify the presence of weak bands hidden in the background of the thin-film spectra also spectra of large crystals (about 100 x 50 µm2) with thicknesses varying between 30 to 60 µm were measured in the OH stretching region using the spectrometer and components described above. The crystals were placed on KBr sample holders and spectra were averaged over 128 scans.
FTIR spectra in the lattice vibrational range (400-2000 cm-1) were measured using the spectrometer described above but with a Globar light source, MCT detector and a KBr beamsplitter. The samples were prepared as thin films (see above) and placed on KBr sample holders. The spectra were collected with 4 cm-1 resolution and averaged over 1024 scans.

Raman-spectroscopy
Raman spectra were measured with a HORIBA Jobin Yvon LabRAM HR800 VIS spectrometer (GFZ, Potsdam) equipped with a green 514 nm wavelength diode-pumped solid-state laser. The spectra were collected from the microprobe mounts after removal of the carbon coating.
Spectra in the range of 100–1000 cm–1 were measured for phase identification and the data acquisition time was 30 s for MA-399 and MA-575 and 50 s for MA-576. We measured several different single crystals for MA-576 - all gave much weaker signals than the crystals of the other two samples. The spectra were deconvoluted with the software PeakFit by Jandel Scientific.
Spectra in the OH stretching region were measured in the range of 3200 – 3600 cm-1 with the same configuration. These measurements were extremely difficult as the samples were very sensitive to the laser light decomposition and showed high fluorescence. The Al-bearing samples were measured with 50 % laser power. Spectra of MA-575 were collected for 10 sec with 3 accumulations while spectra of MA-576 were measured for 20 sec with 3 accumulations.

Single-crystal X-ray diffraction
Single-crystal XRD data were collected at the Extreme Conditions Beamline (ECB, P02.2) at PETRA III, DESY (Hamburg, Germany). In order to improve data quality and for the purpose of absorption correction, we pre-selected samples of a shape similar to a sphere. Samples were glued on the top of a tungsten needle (2 µm tip), which acted as holder for the XRD measurements, enabling data collection during rotation (-90° - +45°) around the vertical axis. The energy of the beam was tuned to 42.7 keV, while the beam was focused to 3 x 8 µm2 (H x V, full width at half maximum). Sample to detector distance (SDD) and tilt of the detector were initially determined from the powder X-ray diffraction image of a CeO2 standard from NIST (674b) using DIOPTAS (Prescher and Prakapenka 2015) and further refined in CrysAlisPro© from Rigaku. The single-crystal data are calibrated by an enstatite crystal. Crystal structures were solved using OLEX2 with a SHELX backend (Dolomanov et al. 2009; Sheldrick 2015). Additional data analysis was conducted with JANA2006 (Petříček et al. 2014). The structural models displayed below were drawn using the software VESTA (Momma and Izumi 2011).

Brillouin Scattering
We collected single-crystal Brillouin scattering spectra from grains selected from sample MA-576, our Al-bearing shy-B sample that contained the highest amount of Al (1.35 atoms pfu). Four crystal platelets were double side polished to 20-25 μm final thickness, and their orientations were determined by single crystal XRD at the ECB (see above). The orientations of the four platelets were (-0.5，0，0.87), (0.83，-0.56，-0.08), (-0.78，-0.38，0.49) and (-0.81，-0.59，0.09). Brillouin scattering experiments at ambient condition were performed at the laser lab of the Extreme Conditions Science Infrastructure (ECSI) of PETRA III, DESY, Hamburg, established by the GFZ Potsdam. The signal was excited by a Nd:YVO4 laser with a wavelength of 532 nm and an output power of 100 mW. The Brillouin spectra were recorded by a six-pass Sandercock tandem Fabry-Perot interferometer. The external scattering angle (i.e. the angle between incident and scattered light directions outside the sample) was 50o, and the mirror spacing was 6 mm during the measurements. The acoustic velocities of the sample were calculated from the measured Brillouin frequency shift, ΔυB, as:
    v = {Δ {υ} rsub {B} {λ} rsub {0}} over {2 sin {(} θ /2)} (1)
where v is the acoustic velocity, λ0 is the laser wavelength of 532 nm, and θ is the external scattering angle. The dataset of individual acoustic velocities, and corresponding wave vector orientations and polarizations was used to determine the 9 independent nonzero elastic coefficients of the Al-shy-B sample. The elastic constants were determined by inverting a set of Christoffel’s equations:
        left lline {C} rsub {ijkl} {n} rsub {j} {n} rsub {l} - ρ {ν} ^ {2} {δ} rsub {ik} right rline =0 (2)
where Cijkl is the elastic constants, nj and nl are the direction cosines of the acoustic wave propagation direction. ρ is the density, v is the acoustic velocity derived from Brillouin frequency shift, and δik is the Kronecker delta. Based on the volume derived from X-ray diffraction data and the composition Mg8.04Si2.17Al1.35O18H7.18, the density of MA-576 was calculated to be 3.166 (4) g/cm3, the number in parentheses is 1 standard deviation on the last digit.

3. Results
Table 2 shows the EMPA results and chemical composition for the three different syntheses. Sample MA-399 contains 0.35(3) wt.% Al2O3, which corresponds to 0.04 atoms per formula unit in shy-B. This amount has negligible structural effects, and we will consider this sample as Al-free in our discussion. The two samples MA-575, MA-576 contain 4.05(18) and 11.72(21) wt.% Al2O3, respectively (Table 2). The H2O contents of the 3 samples were determined by FTIR absorption, and are equal to 8(1), 10(1), 11(1) wt.%, respectively. To calculate the chemical formula, we preferred to take the IR-determined water contents, rather than the difference of the EMP sum to 100 %. The complete chemical formulas for each synthesis are reported in Table 2. Our results show that water content increases with Al content, which is consistent with the result for shy-B with moderate Al content (0.85<Al<1.91 pfu) in Kakizawa et al (2018). There are minor amounts of ringwoodite coexisting with shy-B in MA-399 and pyrope coexisting with Al-bearing shy-B in MA-575 and MA-576, which means that pyrope will coexist with Al-bearing shy-B in Al-rich systems.
In our syntheses, we did not observe complex phase assemblages as reported by Kakizawa et al (2018). In particular, we did not observe a coexistence of two shy-B phases with different Al content in the same synthesis run. We contribute this due to the rotating multi-anvil press setup, used in our experiments. The rotation of our multi-anvil press during the duration of the experiments ensures homogeneous distribution of the liquid phase in the capsule. Consequently, all the chemical compositions of different grains of our sample are nearly identical within the uncertainty of our measurements. We did not observe other coexisting high temperature phases such as δ-AlOOH (Kakizawa et al. 2018) as the temperature of our syntheses is 200-400 C lower than those of Kakizawa et al. (2018).
Figure 1 shows the FTIR spectra in the OH stretching region of the samples prepared as thin-films. In the spectrum of the nominally Al-free shy-B sample (MA-399) we can distinguish two main OH bands (ν1 and ν2), which we assign to the vibrations of two different hydroxyl groups according to space group symmetry Pnn2 that are consistent with Koch-Müller et al. (2005, 2014) and Trots et al. (2015). With increasing Al-content the frequencies of the OH bands do not change. However, the bands visibly broaden, while at least a third OH band ν3 is visible at lower wavenumbers. The intensity of ν3 increases with increasing Al-content (Figs.1, S1). In the FTIR spectrum of the sample with the highest Al-content (MA-576) only two very broad OH bands can be distinguished (merging ν1 + ν2 and additional ν3). In all spectra (Fig. S1) a fourth very weak OH band can be identified at higher wavenumbers, e.g. at 3554 cm-1 (MA-576). The peak positions, the integral absorbances normalized to 1 cm and the band widths (FWHM) determined for the thin-film spectra are listed in Table S1. The calculated water contents are listed in Table 2. All samples contain more OH than the ideal value pointing to two hydrogen positions. As also indicated by the FTIR spectra there must be additional hydrogens incorporated in the crystal structure. Low temperature spectra of sample MA-575 and MA-576 were collected in the hope to reduce the FWHM of the OH bands for a better band assignment. But as shown in Fig. S2 there is nearly no change in the spectra with decreasing temperature.
To finally verify the presence of ν3 and ν4 in all three samples we collected spectra of individual crystals in the OH stretching region. The spectra are shown in Fig. S1. The spectra are oversaturated in the range of 3450 to 3300 cm-1 but the presence of the ν3 band at lower wavenumbers can clearly be seen also in MA-399. In all three spectra the very weak band ν4 at higher wavenumber is clearly present.
FTIR spectra in the range of the lattice vibrations are shown in Fig. 2 and their frequencies are reported in Table S2. Based on the results of Hofmeister (1999), we assign specific vibrations to the peaks; some peaks remain unassigned (Table S3). The spectra of the three samples are very similar - they are dominated by vibrations of tetrahedrally and octahedrally coordinated Si. The main difference between the Al-free sample MA-399 and the Al-bearing sample MA-576 is in the region around 600 – 700 cm-1 and we tentatively assigned the two most prominent bands in the spectrum of the sample MA-576 to vibrations of octahedrally coordinated Al.
Raman spectra in the range of the lattice vibrations are shown in Fig. 3. Nine Raman peaks for each Shy-B were fitted, and their frequencies are reported in Table S2. Based on the results of Hofmeister et al. (1999), we assign specific vibrations to the peaks; some peaks remain unassigned (Table S2). The Raman spectra show that the intensity of the peaks becomes weaker with increasing Al-content (Fig. 3). Similar behavior has been reported that Al-rich phase D shows broader and weaker Raman peaks when compared with Al-free one (Pamato et al. 2015; Xu and Inoue 2019). The values of FWHM show that most peaks broaden with increasing Al content (Table 2), potentially indicating presence of cationic disorder. Most of the peak positions move to larger wavenumbers as a function of increasing Al content. This observation indicates that the incorporation of the Al increases the vibrational frequencies, and is compatible with the observed decrease of the unit cell volume (see below). Raman spectra in the OH stretching region also show increasing peak broadening with increasing Al incorporation (Fig. S3).
In order to examine the structure of shy-B crystals with different Al content, we performed single-crystal X-ray diffraction refinements at ambient condition. The details can be found in the cif files in supplementary materials. The unit cell parameters are also listed in Table S3. Although our FTIR results clearly indicate two different hydrogen sites suggesting the space group Pnn2 for nominally Al-free shy-B (MA-399), we use both Pnnm and Pnn2 during the refinement to examine all the possibilities for the other two compositions (MA-575 and MA-576). The main difference between Pnnm and Pnn2 structural models for shy-B is the description of H atom positions. Pnnm has just one general H position (multiplicity 8) while Pnn2 has two general H positions (multiplicity 4). Considering similarity of both space groups and lattice parameters, we can compare them for shy-B with different Al contents (Fig.4). Our single-crystal refinement shows that the Pnnm and Pnn2 offer the same cell parameters. Figure 4 shows that the incorporation of 1 Al pfu will reduce a, b, c unit cell parameters and the volume (V) of Al-bearing shy-B by 0.69%, 0.24%, 0.16% and 0.29%, respectively.
Apart from the lattice parameters, the incorporation of Al affects various structural features, including the volumes of MgO6, SiO4 and SiO6 polyhedra. Based on the results of our analysis, we can also compare the volume of the different MgO6 octahedra as a function of Al content (Fig. 5; Fig. S4). In order to simplify the discussion, it seems justified to continue using Pnnm as a reference. Indeed, the octahedral sites of Mg5, Mg6, Mg7 in Pnn2 are structurally related to those of Mg3, Mg4, Mg1 in Pnnm. In fact, the solutions for the both space groups are very close in terms of atomic positions and interatomic distances. This is not surprising, given that the difference between the space groups arises from the symmetry break due to position of H, the atom with the lowest Z, which weakly contribute to X-ray diffraction.
As the Al content in shy-B increases, the volume of the Mg1 and Mg2 octahedra are reduced, in contrast to a slightly increased volume of Mg4 octahedron. The changes of Mg3 octahedron volume are insignificant (Fig.5). The sites containing Si behave differently as Al content changes, i.e. the volume is increased with increasing Al content for SiO6 octahedra but remains unchanged for SiO4 tetrahedra (Fig.5) indicating low probability of Al substitution at the latter site.
In order to put strong constraints on elasticity, we collected Brillouin scattering spectra and determined acoustic velocities from four crystal platelets, even though two platelets have similar orientations (Fig.6). Due to the extensive dataset, the inversion to determine the full elastic tensor yielded unambiguous results. The fitting results are shown in Figure 6 and the elastic stiffness coefficients are listed in Table 3. Al-bearing shy-B shows lower C11, C44, C55, C13, C66 but higher C22, C12 than Al-free end member and similar C33, C23. The adiabatic bulk modulus (KS) and the shear modulus (G) were estimated to be 140.7(7) GPa and 88.2(4) GPa, respectively, which are also lower than the Al-free composition. The azimuthal VP anisotropy and maximum VSPO splitting are calculated using the following equations

{A} rsub {P} = {{V} rsub {Pmax -} {V} rsub {Pmin}} over {{V} rsub {Pavg}} ×100
{A} rsub {S} rsup {PO} = {Max ( {V} rsub {S 2} - {V} rsub {S 1} )} over {{V} rsub {Savg}} ×100
where VPmax, VPmin, VPavg, are maximum, minimum and average VP in the crystal structure. Max (VS2 - VS1), describes the maximum difference between VS2 and VS1 in the same propagation direction; VSavg computes the average of all the VS. The values of AP and ASPO are 20.1% and 15.9%, respectively.

4. Discussion
4.1 Incorporation of H and Al in the structure of shy-B
Based on our single-crystal X-ray refinements of shy-B with different Al contents, we can infer the mechanisms of Al incorporation in the shy-B structure based on the volume of MgO6 and SiO6 octahedra. In the structure of Al2O3 (corundum structure), MgO (periclase structure) and SiO2 (rutile structure), used as simple reference, the volume of AlO6 octahedra is larger than that of the SiO6 octahedra, but smaller than the MgO6 octahedra (Fig. S5). Based on this simple comparison we expect as a first order approximation that the incorporation of Al by substitution of Si in octahedral sites will increase the volume of the octahedra, while it will lower the volume of the octahedra when it substitutes Mg. We observe that with increasing Al content in shy-B, the volume of the SiO4 tetrahedral site remains unchanged and that of the SiO6 octahedron becomes larger (Fig. 5) indicating that Al3+ substitutes for the octahedral Si4+ which is consistent with the Al substitution in stishovite (Bromiley et al. 2006; Litasov et al. 2007a). The volumes of Mg1 and Mg2 octahedral sites are decreasing with increasing Al content, indicating a preferred Al substitution for Mg in Mg1 and Mg2 (if we refer to the Pnnm space group). The volume of the Mg3 octahedron remains unaffected by the change in Al content suggesting that the substitution of Al in Mg3 octahedra site is negligible. In contrast, the volume of the Mg4 octahedral site slightly increases with increasing Al content, indicating a presence of Al in Mg4 octahedral site to should be limited. The increase of Mg4 octahedron might be caused by vacancies in this site.
The hydrogen positions and OH dipole directions of the stoichiometrically incorporated hydrogens are well known from neutron diffractions data and polarized FTIR spectra on oriented crystals (Trots et al. 2013, Koch-Müller et al. 2014); the two main OH bands in MA-399 are assigned to these two OH dipoles, and their vibrations are labelled as ν1 and ν2. In the thin-film spectra there may be hints for two additional OH bands ν3 and ν4. To have a better insight into the defect H we collected low temperature spectra and spectra on relatively thick crystals (Figs. S1, S2). There is nearly no change in the OH bands with decreasing temperatures. The bands remain broad, indicating that the FWHM is caused by cationic disorder rather than disorder of by thermal broadening. According to Trots et al. (2013) both non-defect hydrogens are coordinated by Mg1, Mg2 and Mg3 sites. We suggest that Al-substituting Mg in Mg1 and Mg2, as shown in this study, leads to variable environments of the hydrogen and thus to the observed higher band widths. Fig. 1 and S1 clearly shows that defect hydrogen is present in all three samples. The intensity of the band ν3 at 3261 cm-1 (MA-399) increases with increasing vacancies of the Mg sites for the samples MA-575 and MA-576 and thus we assigned the band to this defect. The band ν4 is also present in all three sample, however, only with a constant and minor intensity. We will discuss its possible origin later on.
Due to the very limited Al content in MA-399 whose composition is (Mg9.39☐0.61) (Si2.93Al0.04☐0.03)H5.37O18, we considered it as Al-free shy-B in this discussion. The extra 1.37 H pfu goes to the tetrahedral silicon site as hydrogarnet substitution (0.12 H pfu), vacancies in the Mg site (1.22 H pfu) and neglectable 0.04 H pfu goes to Si octahedral site by the mechanism of Si4+=Al3+ + H+.
Based on our single-crystal structural models and electron microprobe analyses of the Al-bearing samples MA-575 and MA-576, we propose the following coupled substitutions for Al-bearing shy-B: (1) Si4+=Al3+ + H+; (2) 2 Al3+ = Mg2+ + Si4+; (3) ☐Mg2+ = 2H+. As the ionic size of VIAl3+ and VISi4+ are quite similar (Shannon, 1976), we propose that Al3+ first occupies all the Si octahedral sites and then the other sites. We rule out the possibility of large contributions from the hydrogarnet substitution as the X-ray refinement indicate fully occupied (Si + Al) tetrahedral and octahedral Si sites. However, a limited amount as observed in MA-399 may be possible.
Sample MA-575 contains 0.47 Al pfu in total (Mg8.75Al0.47Si2.62H6.60O18). 0.38 Al pfu is needed to occupy all the Si octahedral sites, and the remaining 0.09 Al pfu goes to the Mg site. We thus assign 0.29 Al to the octahedral Si-site via mechanism (1); 0.09 Al pfu (in total) goes to Mg1 and Mg2 sites and 0.09 pfu Al3+ to the octahedral Si site by mechanism (2). Therefore, the residual charge in the Si site should be balanced via mechanism (1) by 0.29 H pfu. Vacancies in the Mg sites are charge balanced by mechanism (3) resulting in 2.32 H pfu. The crystal-chemical formula for MA-575 can thus be stated as (Mg8.75Al0.09☐1.16) (Si2.62Al0.38) H6.60O18.
Following the substitution mechanisms as described for MA-575, the crystal-chemical formula of MA-576 will be (Mg8.04Al0.52☐1.44)(Si2.17Al0.83)H7.18 O18: 0.31 Al pfu are assigned to the octahedral Si site via mechanism (1) results in 0.31 H+ pfu; 0.52 Al pfu (in total) is in the Mg1 and Mg2 sites and 0.52 Al pfu in the octahedral Si site via mechanism (2); vacancies in the Mg sites are charge balanced by mechanism (3) resulting in 2.88 additional H pfu.
In summary, with increasing Al-incorporation in shy B the Mg vacancy content and Al incorporation into the octahedral Si site increase, and both lead to an increasing H content.
The assignment is consistent with the FTIR spectra: the increasing absorbance of the band 3 with increasing Al- content is due to increasing Mg vacancies content (0.6, 1.16 and 1.44 pfu, in MA-399, MA-575 and MA-576 respectively), and charge balance via mechanism (2) resulting in 1.4, 2.32 and 2.88 H+ pfu. In the nominally Al-free sample MA-399 the absorption band 3 is weak but still clearly visible (Fig. S1; see also Table S1). There should be additional weak OH bands due to mechanism (1) in the FTIR spectra of MA-575 (0.29 H) and MA-576 (0.31 H) but nearly none (0.04 H pfu) in the spectra of MA-399. These additional OH bands should have frequencies close to 3100 cm-1 based on available data for H-bearing Al-stishovite (Bromiley et al. 2006; Litasov et al. 2007a) and they may be hidden in the background. However, we do observe a weak OH band, 4, in all three samples and we tentatively assign it to the hydrogarnet substitution. At least for sample MA-399 the chemical composition analyses indicate 0.03 pfu vacancies in the Si site which would result in 0.12 H pfu. Due to the complex Al incorporation into the structure and variable vacancies we cannot rule out that the same holds for MA-575 and MA-576. The hydrogarnet substitution would result in four OH-bands with a strong band in the frequency range of 4 – the others may be hidden by the high intrinsic OH described above.
Our interpretation of the data is partly consistent with the results of Kakizawa et al. (2021). They investigated one Al-shy B sample with nearly the same composition as MA-576. The FTIR spectra are quite similar to the spectra of MA-576 shown in Fig. 1 and S1. In agreement with our conclusions the broad band at 3400 cm-1 (our merged v1, v2) is assigned to the stoichiometrically incorporated hydrogen for Pnn2. The band at 3260 cm-1 (our band v3) and at 3540 cm-1 (our band v4) are according to Kakizawa et al. (2021) assigned to the substitution mechanism (1) (Si4+ = Al3+ +H+) and to a new and complex substitution mechanism (4): 2 Mg2+ = Al3+ + H+ + ☐ Mg2+, respectively. This assignment is not supported by our data. We studied three samples with different Al-contents, the band in question (v3) is present in all three spectra (Fig. S1) but only two of the samples show the substitution of Si4+ by Al3+ (Table 2). In addition, in our study the band at 3450 cm-1 (v4) shows a constant and weak absorption in the spectra of all three samples (Fig. S1), which is not consistent with the substitution mechanism in which Mg vacancies are involved as the amount of vacancies increases with Al content.
Al incorporation into the Mg-site (mechanism 2) causes a broadening of the OH absorption bands, which leads to the merging of OH bands 1 and 2. As observed in other solid solutions systems such as Al-bearing phase D, the partial substitution of Mg by Al at the Mg site results in variable Mg-Al environments for the H sites and causes band broadening (Xu et al.,2019). We can rule out that the band broadening is due to dynamic disordering of H atom around the normal H position as we see no sharpening of the bands with decreasing temperature (fig s2). In conclusion, Al-free shy-B with 2 distinct H atomic position crystallizes in Pnn2 space group and the incorporation of Al into the hydrogen coordinating Mg sites M1 and M2 leads to cationic disorder and seems to result in overlapping unresolved OH bands leaving the question of the ultimate structure type (Pnn2 or Pnnm) for Al-rich shy-B unsolved. To gain further structural information, Al-rich shy-B needs to be examined by NMR or neutron diffraction in future.

4.2 Elasticity of Al-bearing shy-B
The elasticity of Al-free shy-B with different hydrogen contents has been investigated at ambient or high P-T conditions using Brillouin scattering in 3 studies (Pacalo and Weidner 1996; Rosa et al. 2015; Li et al. 2016). We list the sets of 9 independent elastic constants (at ambient conditions) for the different chemical compositions in Table 3 and we plot them in Fig.7 where the valency of the cations is considered (i.e. for MA-576 (Al+H)/(H+Al+Mg+Si) and equates to (3*1.35 + 7.18)/36). We also recalculated the results of Rosa et al (2015) using the correct composition (and density) of that sample material following the suggestion by Li et al (2016). The elastic stiffness coefficients of Al-free shy-B show a general decrease with increasing H content, and only C44 and C12 are insensitive to the H content within uncertainty; the effect of Al incorporation modifies these trends, especially in the case of C11, C22 and C23 (Fig.7). The incorporation of H in shy-B will significantly reduce the mass per formula unit leading to a sensible decrease of density of shy-B. To better identify and discuss the effects of H and Al incorporation on the elasticity and acoustic velocity of shy-B, we try to exclude the effect of density (mostly due to H incorporation) by normalizing the individual coefficients and expressing them as the ratio Cij/density. Using the value of Cij/density from Pacalo and Weidner (1996) as a reference ideal Mg- end member of shy-B, we calculated the differences of the individual Cij for each composition of shy-B (Fig.8). When the effect of density (i.e. of hydrogen incorporation) is removed, the value of most Cij/density for Al-free shy-B with different water contents remains equal within uncertainties (Fig. 8). The differences of C12, C13 and C23 are larger, as the off-diagonal elastic coefficients are more difficult to constrain (they cannot be determined independently by individual Brillouin scattering or sound velocity measurements). When we consider the Al-free system in previous studies, the values of Cij/density for all the other coefficients are effectively insensitive to the H content indicating that the incorporation of H in excess compared to the ideal Mg- end member composition will not affect the sound velocity of shy-B, because it equally reduces both the elastic coefficients and the density. When we consider Al-bearing shy-B (MA-576), the elastic coefficients C11, C44, C55, C66 and C13 are lower, C22, C12, C23 are higher and C33 and C66 are equal to Al-free shy-B. The large difference observed for several density-normalized Cij of Al-bearing shy-B indicates that the substitution of Al in the structure has a much larger impact on sound velocity of this phase.
In order to understand the relationship between Al incorporation and elasticity, we need to consider the crystal structure of Al-free shy-B. The structure of shy-B is characterized by an alternation of layers containing octahedra (Mg) and tetrahedra (Si) and layers containing octahedra (Mg) and octahedra (Si) stacked along the b- crystallographic axis (Fig.9). All the available experimental studies of the elastic properties of Al-free shy-B (with variable H content) and also density functional theory (DFT) studies consistently show that b is the stiffest axial direction with C22 10% larger than C11 and 7% larger than C33 (Pacalo and Weidner 1996; Mookherjee and Tsuchiya 2015; Rosa et al. 2015; Li et al. 2016; Yang et al. 2017). The stiffness along the b- direction is enhanced by the presence of two different alignments or columns of polyhedral units running along this direction, and it is controlled by the stiffest unit in these alignments. Based on the available data the stiffness of Si-O tetrahedra is much higher than that of Mg-O and Si-O octahedra (Hazen and Finger 1982). In both columns aligned along b, one of the stiff Si-O tetrahedral bonds is systematically aligned parallel to the b-axis (Fig. 9). In each column, both Si-tetrahedra and softer Si-octahedra are present with a ratio of 1:1. However, due to a shift along b-axis between the two columns, the resulting sequence of layers stacked along b have a ratio of tetrahedra-bearing vs. fully octahedral layers of 2:1. The distance between Si atoms aligned along the b-columns is a sequence of 3.5 Å and 5.2 Å.
Looking for structural features parallel to the a- and c-axes, we find that 2 types of column-like units have either only Si-octahedra or Si-tetrahedra alternating with Mg-octahedra. The distance between Si atoms along the columns running parallel to a is equal to the unit-cell parameter a (5 Å). No stiff bond is aligned along the a-direction, and the arrangement of the stiff tetrahedra gives the option for rigid rotations to accommodate compression. Column-like structures along the c-axis offer a more direct alignment of cations, involving either only Si-octahedra or Si-tetrahedra, at distances equal to the c- unit-cell parameter (8.5 Å). However, the packing of polyhedra is denser than along the a-axis, with average distances between Si and Mg or Mg and Mg averaging at 2.7 Å.
The mechanisms through which Al incorporation affects the elastic tensor of shy-B is complicated by the coexisting effects of vacancies and hydrogen incorporation. Below, we interpret the effects on the compressional coefficients C11, C22, and C33 based on our complete set of structural and spectroscopic observations.
We identify major mechanisms: (1) Al incorporation causes a decrease of the unit cell parameters a, b, c and potentially stiffening all the Cii (i=1,2,3); (2) Al substitution at the octahedral Si site softens Si-O octahedra; (3) Al substitution at Mg sites stiffens Mg-O octahedra; (4) vacancies on Mg octahedra make them softer. In the case of C11 (the uniaxial stiffness along the a- direction) the mechanisms (1), (2) and (3) are all active. However, as the distance between Si polyhedra is very large (~5 Å), the shrinking of a- axis has a limited effect on C11. In addition, in MA-576 a large amount of Si is substituted by Al and mechanism (2) is dominant over (1) and (3). Consequently, C11 softens with respect to Al-free shy-B. In the case of C22, as the stiffest Si-O tetrahedral aligned with b-axis, mechanisms (1) will dominate and make C22 stiffer. In the case of C33 the four different mechanisms balance each other, and the value of the constant is only marginally affected by Al incorporation.

5. Implications
Shy-B is potentially a major hydrous phase in cold slabs subducted to the depth of the transition zone and the topmost part of the lower mantle (Schmidt and Ulmer 2004; Ohtani 2005). The presence and decomposition of Al-free shy-B might be related to the low velocity zone or 720-800 km discontinuity in the shallow lower mantle (Li et al. 2016; Yang et al. 2017). The study by Kakizawa et al. (2018) showed that Al-bearing shy-B has a much wider stability field compared to the Al-free counterpart. Pyrope-rich garnet can be the main Al carrier in the subducted slabs in the deep transition zone and the top of the lower mantle. Our syntheses results show that Al-free shy-B coexists with ringwoodite, while Al-bearing shy-B coexists with pyrope at the conditions of our synthesis runs (Table 2). In the peridotite layer of subducted slabs, Al-free shy-B could be favored compared to Al-bearing shy-B because the amount of available Al is low. On the other hand, in the basaltic layer, where pyrope is the most abundant phase, Al-bearing shy-B would be present coexisting with pyrope-rich garnet if the subducted slab is H2O rich. The Al-free shy-B decomposes around 30 GPa and 900 K indicating that it cannot represent a water carrier even at the conditions of a very cold subduction slab (Ohtani et al. 2003). Having a wider stability, Al-bearing shy-B with 31.9 wt.% Al2O3 could be stable at 25 GPa and 2300 K and could be a potential water carrier in the topmost lower mantle (Kakizawa et al.2018). The elastic properties of Al-bearing shy-B are important for our understanding of the low seismic velocity anomalies and anisotropy anomalies observed in the transition zone and topmost part of the lower mantle. Our study demonstrates that while the incorporation of additional H2O in shy-B mainly affects the density and has only a slight effect on sound velocity (Fig. 8 and Table 3), on the opposite the incorporation of Al has a more complex effect on density and elasticity resulting in a relevant effect on sound velocity and anisotropy. Comparing VP and VS with that of standard Al-free shy-B, Al-bearing shy-B has 1.8% and 2.6 % lower VP and VS, respectively (Fig. 10). A previous study of sound velocity of H2O-rich Al-free shy-B at high P-T has shown that the presence of shy-B could help to explain the low velocity zone at the topmost lower mantle but cannot help to understanding high anisotropy regions (Li et al., 2016). Our Al-bearing shy-B displays densities that are comparable to those of the H2O-rich Al-free shy-B investigated by Li et al (2016), which has similar H2O content (Table 3.). At ambient conditions, Al-bearing shy-B has the lowest acoustic velocities among all the previously investigated shy-B compositions (Fig.10). More importantly, the VP anisotropy and VSPO splitting of Al-bearing shy-B are 13.2% and 6.1% higher than those of Al-free one (Fig.10). The volume fraction of shy-B in the hydrated pyrolite system can reach 25% at pressures of the topmost lower mantle (Ohtani et al.2005). Assuming a similar pressure and temperature dependence of the elastic tensor as Al-free shy-B (Li et al., 2016), the presence of 25 vol.% of Al-bearing shy-B in deep subducted slabs may produce observable lower seismic velocity at topmost lower mantle. More interestingly, Al-bearing has higher elastic anisotropy than Al-free shy-B, we thus conclude that if 25 vol.% of Al-bearing shy-B with strong lattice preferred orientation (LPO) might cause 2% anisotropy for VS and help to understand the anomalous seismic features observed inside and in proximity of Tonga deep subducted slab (Chen and Brudzinski 2003). However, our studies only focus on the elasticity at ambient condition, and a high P-T study investigating the elasticity of Al-bearing shy-B is necessary in the future.

Acknowledgements
We acknowledge the scientific exchange and support of the Center for Molecular Water Science (CMWS) as part of the early science program (DESY) and GFZ. Andreas Ebert and Reiner Schulz for the support during the multi-anvil syntheses. We also acknowledge DESY (Hamburg, Germany), a member of the Helmholtz Association HGF, for the provision of experimental facilities. Parts of this research were carried out at beamline P02.2 and the Extreme Condition Science Infrastructure (ECSI) of PETRAIII.

References
Ballaran, T.B., Frost, D.J., Miyajima, N., and Heidelbach, F. (2010) The structure of a super-aluminous version of the dense hydrous-magnesium silicate phase D. American Mineralogist, 95, 1113–1116.
Bromiley, G.D., Bromiley, F.A., and Bromiley, D.W. (2006) On the mechanisms for H and Al incorporation in stishovite. Physics and Chemistry of Minerals, 33, 613–621.
Chen, W.-P., and Brudzinski, M.R. (2003) Seismic anisotropy in the mantle transition zone beneath Fiji-Tonga: SEISMIC ANISOTROPY IN THE MANTLE TRANSITION ZONE. Geophysical Research Letters, 30.
Crichton, W.A., Ross, N.L., and Gasparik, T. (1999) Equations of state of magnesium silicates anhydrous B and superhydrous B. Physics and Chemistry of Minerals, 26, 570–575.
Deon, F., Koch-Müller, M., Rhede, D., and Wirth, R. (2011) Water and Iron effect on the P-T-x coordinates of the 410-km discontinuity in the Earth upper mantle. Contributions to Mineralogy and Petrology, 161, 653–666.
Dolomanov, O.V., Bourhis, L.J., Gildea, R.J., Howard, J.A.K., and Puschmann, H. (2009) ıt OLEX2: a complete structure solution, refinement and analysis program. Journal of Applied Crystallography, 42, 339–341.
Frost, D. (1999) The stability of dense hydrous magnesium silicates in Earth’s transition zone and lower mantle. Mantle Petrology, Special Publication No.6, 14.
Hallis, L.J., Huss, G.R., Nagashima, K., Taylor, G.J., Halldórsson, S.A., Hilton, D.R., Mottl, M.J., and Meech, K.J. (2015) Evidence for primordial water in Earth’s deep mantle. Science, 350, 795–797.
Hazen, R. M. & Finger, L. (1982).Comparative Crystal Chemistry. New York: John Wiley & Sons.

Hazen, R.M., Yang, H., Prewitt, C.T., and Gasparik, T. (1997) Crystal chemistry of superfluorous phase B (Mg10 Si3 O14 F4); implications for the role of fluorine in the mantle. American Mineralogist, 82, 647–650.
Hofmeister, A.M. (1999) Mantle Values of Thermal Conductivity and the Geotherm from Phonon Lifetimes. Science, 283, 1699–1706.
Inoue, T., Ueda, T., Higo, Y., Yamada, A., Irifune, T., and Funakoshi, K.-I. (2013) High-Pressure and High-Temperature Stability and Equation of State of Superhydrous Phase B. In S.D. Jacobsen and S. Van Der Lee, Eds., Geophysical Monograph Series pp. 147–157. American Geophysical Union, Washington, D. C.
Kakizawa, S., Inoue, T., Nakano, H., Kuroda, M., Sakamoto, N., and Yurimoto, H. (2018) Stability of Al-bearing superhydrous phase B at the mantle transition zone and the uppermost lower mantle. American Mineralogist, 103, 1221–1227.
Kakizawa S, Inoue T and Kuribayashi T.(2021) Single-crystal X-ray structure refinement of Al-bearing superhydrous phase B. Physics and Chemistry of Minerals, 2021, 48(8): 1-11.

Koch-Müller, M., Dera, P., Fei, Y., Hellwig, H., Liu, Z., Orman, J.V., and Wirth, R. (2005) Polymorphic phase transition in Superhydrous Phase B. Physics and Chemistry of Minerals, 32, 349–361.
Li, X., Mao, Z., Sun, N., Liao, Y., Zhai, S., Wang, Y., Ni, H., Wang, J., Tkachev, S.N., and Lin, J.-F. (2016) Elasticity of single-crystal superhydrous phase B at simultaneous high pressure-temperature conditions: Elasticity of Shy-B. Geophysical Research Letters, 43, 8458–8465.
Li, X., Liu, Y., Wang, R., Yoshino, T., Xu, J., Zhang, D., Grützner, T., Zhang, J., and Wu, X. (2020) Thermal equation of state of F-bearing superhydrous phase B (Mg10Si3O14(OH,F)4): Implications for the transportation of fluorine and water into Earth’s lower mantle. preprint, Geophysics.
Libowitzky, E., and Rossman, G.R. (1997) An IR absorption calibration for water in minerals. American Mineralogist, 82, 1111–1115.
Litasov, K., and Ohtani, E. (2003) Stability of various hydrous phases in CMAS pyrolite-H 2 O system up to 25 GPa. Physics and Chemistry of Minerals, 30, 147–156.
Litasov, K.D., Kagi, H., Shatskiy, A., Ohtani, E., Lakshtanov, D.L., Bass, J.D., and Ito, E. (2007a) High hydrogen solubility in Al-rich stishovite and water transport in the lower mantle. Earth and Planetary Science Letters, 262, 620–634.
Litasov, K.D., Ohtani, E., Ghosh, S., Nishihara, Y., Suzuki, A., and Funakoshi, K. (2007b) Thermal equation of state of superhydrous phase B to 27GPa and 1373K. Physics of the Earth and Planetary Interiors, 164, 142–160.
Liu, Z., Irifune, T., Nishi, M., Tange, Y., Arimoto, T., and Shinmei, T. (2016) Phase relations in the system MgSiO 3 –Al 2 O 3 up to 52 GPa and 2000 K. Physics of the Earth and Planetary Interiors, 257, 18–27.
Liu, Z., Nishi, M., Ishii, T., Fei, H., Miyajima, N., Ballaran, T.B., Ohfuji, H., Sakai, T., Wang, L., Shcheka, S., and others (2017) Phase Relations in the System MgSiO 3 -Al 2 O 3 up to 2300 K at Lower Mantle Pressures: Phase Relations and Al in Bridgmanite. Journal of Geophysical Research: Solid Earth, 122, 7775–7788.
Lobanov, S.S., Schifferle, L., and Schulz, R. (2020) Gated detection of supercontinuum pulses enables optical probing of solid and molten silicates at extreme pressure–temperature conditions. Review of Scientific Instruments, 91, 053103.
Mao, Z., and Li, X. (2016) Effect of hydration on the elasticity of mantle minerals and its geophysical implications. Science China Earth Sciences, 59, 873–888.
Matrosova, E.A., Welch, M.D., Bobrov, A.V., Bindi, L., Pushcharovsky, D.Y., and Irifune, T. (2019) Incorporation of Ti into the crystal structures of the high-pressure dense silicates anhydrous phase B and superhydrous phase B. Physics and Chemistry of Minerals, 46, 909–920.
Momma, K., and Izumi, F. (2011) VESTA 3 for three-dimensional visualization of crystal, volumetric and morphology data. Journal of Applied Crystallography, 44, 1272–1276.
Mookherjee, M., and Tsuchiya, J. (2015) Elasticity of superhydrous phase, B, Mg10Si3O14(OH)4. Physics of the Earth and Planetary Interiors, 238, 42–50.
Mrosko, M., Koch-Müller, M., McCammon, C., Rhede, D., Smyth, J.R., and Wirth, R. (2015) Water, iron, redox environment: effects on the wadsleyite–ringwoodite phase transition. Contributions to Mineralogy and Petrology, 170.
Nishi, M., Irifune, T., Tsuchiya, J., Tange, Y., Nishihara, Y., Fujino, K., and Higo, Y. (2014) Stability of hydrous silicate at high pressures and water transport to the deep lower mantle. Nature Geoscience, 7, 224–227.
Ohtani, E. (2005) Water in the Mantle. Elements, 1, 25–30.
Ohtani, E., Toma, M., Kubo, T., Kondo, T., and Kikegawa, T. (2003) In situ X-ray observation of decomposition of superhydrous phase B at high pressure and temperature: IN SITU X-RAY OBSERVATION OF DECOMPOSITION OF SUPERHYDROUS PHASE B. Geophysical Research Letters, 30.
Pacalo, R.E.G., and Parise, J.B. (1992) Crystal structure of superhydrous B, a hydrous magnesium silicate synthesized at 1400 °C and 20 GPa. American Mineralogist, 77, 681–684.
Pacalo, R.G., and Weidner, D. (1996) Elasticity of superhydrous B. Physics and Chemistry of Minerals, 23.
Palot, M., Jacobsen, S.D., Townsend, J.P., Nestola, F., Marquardt, K., Miyajima, N., Harris, J.W., Stachel, T., McCammon, C.A., and Pearson, D.G. (2016) Evidence for H2O-bearing fluids in the lower mantle from diamond inclusion. Lithos, 265, 237–243.
Pamato, M.G., Myhill, R., Boffa Ballaran, T., Frost, D.J., Heidelbach, F., and Miyajima, N. (2015) Lower-mantle water reservoir implied by the extreme stability of a hydrous aluminosilicate. Nature Geoscience, 8, 75–79.
Pearson, D.G., Brenker, F.E., Nestola, F., McNeill, J., Nasdala, L., Hutchison, M.T., Matveev, S., Mather, K., Silversmit, G., Schmitz, S., and others (2014) Hydrous mantle transition zone indicated by ringwoodite included within diamond. Nature, 507, 221–224.
Peslier, A.H. (2020) The origins of water. Science, 369, 1058–1058.
Petříček, V., Dušek, M., and Palatinus, L. (2014) Crystallographic Computing System JANA2006: General features. Zeitschrift für Kristallographie - Crystalline Materials, 229.
Prescher, C., and Prakapenka, V.B. (2015) DIOPTAS: a program for reduction of two-dimensional X-ray diffraction data and data exploration. High Pressure Research, 35, 223–230.
Rosa, A.D., Sanchez-Valle, C., Wang, J., and Saikia, A. (2015) Elasticity of superhydrous phase B, seismic anomalies in cold slabs and implications for deep water transport. Physics of the Earth and Planetary Interiors, 243, 30–43.
Schmidt, M.W., and Ulmer, P. (2004) A rocking multianvil: elimination of chemical segregation in fluid-saturated high-pressure experiments. Geochimica et Cosmochimica Acta, 68, 1889–1899.
Sheldrick, G.M. (2015) Crystal structure refinement with SHELXL. Acta Crystallographica Section C Structural Chemistry, 71, 3–8.
Shieh, S.R., Mao, H., Hemley, R.J., and Ming, L.C. (2000) In situ X-ray di¡raction studies of dense hydrous magnesium silicates at mantle conditions. Earth and Planetary Science Letters, 177, 69–80.
Trots, D.M., Kurnosov, A., Manthilake, M.A.G.M., Ovsyannikov, S.V., Akselrud, L.G., Hansen, T., Smyth, J.R., and Frost, D.J. (2013) The determination of hydrogen positions in superhydrous phase B. American Mineralogist, 98, 1688–1692.
Tschauner, O., Huang, S., Greenberg, E., Prakapenka, V.B., Ma, C., Rossman, G.R., Shen, A.H., Zhang, D., Newville, M., Lanzirotti, A., and others (2018) Ice-VII inclusions in diamonds: Evidence for aqueous fluid in Earth’s deep mantle. Science, 359, 1136–1139.
Walker, D., Carpenter, M.A., and Hitch, C.M. (1990) Some simplifications to multianvil devices for high pressure experiments. American Mineralogist, 75, 1020–1028.
Xu, C., and Inoue, T. (2019) Melting of Al‐Rich Phase D up to the Uppermost Lower Mantle and Transportation of H 2 O to the Deep Earth. Geochemistry, Geophysics, Geosystems, 20, 4382–4389.
Xue, X., Kanzaki, M., and Shatskiy, A. (2008) Dense hydrous magnesium silicates, phase D, and superhydrous B: New structural constraints from one- and two-dimensional 29Si and 1H NMR. American Mineralogist, 93, 1099–1111.
Yang, D., Wang, W., and Wu, Z. (2017) Elasticity of superhydrous phase B at the mantle temperatures and pressures: Implications for 800 km discontinuity and water flow into the lower mantle: High PT Elasticity of Superhydrous Phase. Journal of Geophysical Research: Solid Earth, 122, 5026–5037.

Figure Captions
Figure 1. Infrared absorption spectra of shy-B with different Al content in the frequency range of the OH stretching vibration.

Figure 2. Infrared absorption spectra of shy-B with different Al content in the frequency range of the lattice vibrations.

Figure 3. Raman spectra of shy-B with different Al content at the frequency range of 100-1000 cm-1.

Figure 4. Unit cell parameters and unit cell volume of shy-B with different Al contents. Error bars are smaller than the symbols.

Figure 5. Polyhedral volumes of various Mg and Si sites for shy-B with different Al contents in Pnnm space group. (a) Dependence of the volumes of MgO6 octahedra on the Al content. Squares, circles, triangles and diamonds represent the octahedral volume for the site of Mg1, Mg2, Mg3 and Mg4, respectively. (b) Dependence of the volumes of SiO6 octahedron and SiO4 tetrahedron on the Al content; triangles and circles represent the octahedron and tetrahedron of SiO6 and SiO4, respectively. Error bars are smaller than the symbols in both the panels.

Figure 6. Acoustic velocities of Shy-B with 1.35 Al pfu (sample MA-576) measured on four platelets with different orientations. Circles: quasi-longitudinal acoustic velocity; squares: fast quasi-shear acoustic velocity; triangles: slow quasi-shear acoustic velocity; curves: fitting results; black, red, green and blue colors represent the orientations of (-0.5，0，0.87), (0.83，-0.56，-0.08), (-0.78，-0.38，0.49) and (-0.81，-0.59，0.09), respectively.

Figure 7. Relationship between elastic stiffness coefficients and the amount of H, Al and Fe incorporated in shy-B. The valency of the cations is considered (i.e. for MA-576 the (Al+H)/(H+Al+Mg+Si) is equal to (3*1.35 + 7.18)/36). The solid circles represent this study for Al-bearing shy-B. The open circles represent the Al-free shy-B with different water contents from previous studies (Pacalo and Weidner. 1996; Rosa et al. 2015; Li et al.2016); the open red diamonds in panel (d) represent the isothermal bulk modulus (KT0) fitted to X-ray diffraction for Al-free shy-B with different water contents (Litasov et al. 2007b; Inoue et al. 2013); the open red star represents the KT0 of Fe-bearing shy-B (Crichton et al. 1999). Error bars smaller than the symbols are not shown in the figures.

Figure 8. Effect of H and Al incorporation on the individual elastic stiffness coefficients of shy-B. The change is expressed as 100*[(Cij/density)a – (Cij/density)ref], where the subscript a indicates Al-bearing or H-enriched shy-B and the subscript ref indicates ideal Mg- end member shy-B (Pacalo and Weidner, 1996). Solid circles MA-576; open blue circles from Li et al.(2016); open green circles from Rosa et al.(2016)

Figure 9. Crystal structure of Al-bearing shy-B(MA-576): b-c plane (panel (a)) and a-c plane (panel (b)).

Figure 10. Average aggregate sound velocity and acoustic anisotropy of Al-bearing and Al-free shy-B at ambient condition. Solid circles: this study; open circles: Pacalo and Weidner (1996); Rosa et al. (2015); Li et al. (2016). (a) sound velocity of Al-bearing and Al-free shy-B. (b) VP anisotropy and VSPO splitting of Al-bearing and Al-free shy-B.